## Sheet1
<tr> | <td> | <b> | Maximum cooling capacity (W) | </b> | </td> |  | <tr><td><b>Maximum cooling capacity (W)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Rated/Minimum Cooling Power (W) | </b> | </td> |  | <tr><td><b>Rated/Minimum Cooling Power (W)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Rated/Minimum Cooling Power Consumption (W) | </b> | </td> |  | <tr><td><b>Rated/Minimum Cooling Power Consumption (W)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Estimated cooling range | </b> | </td> |  | <tr><td><b>Estimated cooling range</b></td>
| <td> | <center> | Room 15m² - 20m² (from 40m³ to 60 m) | </center> | </td> | </tr> | <td><center>Room 15m² - 20m² (from 40m³ to 60 m)</center></td></tr>
<tr> | <td> | <b> | Estimated heating range | </b> | </td> |  | <tr><td><b>Estimated heating range</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Maximum heating power (W) | </b> | </td> |  | <tr><td><b>Maximum heating power (W)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Rated/Minimum Heating Power (W) | </b> | </td> |  | <tr><td><b>Rated/Minimum Heating Power (W)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Rated/minimum market heating power (W) | </b> | </td> |  | <tr><td><b>Rated/minimum market heating power (W)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Indoor unit size_RxCxS (mm) | </b> | </td> |  | <tr><td><b>Indoor unit size_RxCxS (mm)</b></td>
| <td> | <center> | 857 x 348 x 190 | </center> | </td> | </tr> | <td><center>857 x 348 x 190</center></td></tr>
<tr> | <td> | <b> | Weight of indoor unit (kg) | </b> | </td> |  | <tr><td><b>Weight of indoor unit (kg)</b></td>
| <td> | <center> | 9.6 | </center> | </td> | </tr> | <td><center>9.6</center></td></tr>
<tr> | <td> | <b> | Indoor unit volume (Ib.) | </b> | </td> |  | <tr><td><b>Indoor unit volume (Ib.)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Outdoor unit size_RxCxS (mm) | </b> | </td> |  | <tr><td><b>Outdoor unit size_RxCxS (mm)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Mass of outdoor unit (kg) | </b> | </td> |  | <tr><td><b>Mass of outdoor unit (kg)</b></td>
| <td> | <center> | 23 | </center> | </td> | </tr> | <td><center>23</center></td></tr>
<tr> | <td> | <b> | Mass of outdoor unit (Ib.) | </b> | </td> |  | <tr><td><b>Mass of outdoor unit (Ib.)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Product Dimensions_RxCxS (mm) | </b> | </td> |  | <tr><td><b>Product Dimensions_RxCxS (mm)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Product Type | </b> | </td> |  | <tr><td><b>Product Type</b></td>
| <td> | <center> | Air conditioner 1 way | </center> | </td> | </tr> | <td><center>Air conditioner 1 way</center></td></tr>
<tr> | <td> | <b> | Product weight (kg) | </b> | </td> |  | <tr><td><b>Product weight (kg)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Product weight (lb.) | </b> | </td> |  | <tr><td><b>Product weight (lb.)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Electricity supply | </b> | </td> |  | <tr><td><b>Electricity supply</b></td>
| <td> | <center> | 220-240/50 | </center> | </td> | </tr> | <td><center>220-240/50</center></td></tr>
<tr> | <td> | <b> | Refrigerant type | </b> | </td> |  | <tr><td><b>Refrigerant type</b></td>
| <td> | <center> | R32 | </center> | </td> | </tr> | <td><center>R32</center></td></tr>
<tr> | <td> | <b> | Noise (Cooling) High/Medium/Low/Ultra Low (dB(A)) | </b> | </td> |  | <tr><td><b>Noise (Cooling) High/Medium/Low/Ultra Low (dB(A))</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Noise (Heating) High/Medium/Low/Ultra Low (dB(A)) | </b> | </td> |  | <tr><td><b>Noise (Heating) High/Medium/Low/Ultra Low (dB(A))</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | 4:00:00 CH | </b> | </td> |  | <tr><td><b>4:00:00 CH</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Airflow direction control (left & right) | </b> | </td> |  | <tr><td><b>Airflow direction control (left & right)</b></td>
| <td> | <center> | Auto | </center> | </td> | </tr> | <td><center>Auto</center></td></tr>
<tr> | <td> | <b> | Airflow direction control (up & down) | </b> | </td> |  | <tr><td><b>Airflow direction control (up & down)</b></td>
| <td> | <center> | Auto | </center> | </td> | </tr> | <td><center>Auto</center></td></tr>
<tr> | <td> | <b> | Pleasant atmosphere | </b> | </td> |  | <tr><td><b>Pleasant atmosphere</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Wind flow | </b> | </td> |  | <tr><td><b>Wind flow</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Power Cooling | </b> | </td> |  | <tr><td><b>Power Cooling</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Air filter display | </b> | </td> |  | <tr><td><b>Air filter display</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Ion emitter | </b> | </td> |  | <tr><td><b>Ion emitter</b></td>
| <td> | <center> | Have | </center> | </td> | </tr> | <td><center>Have</center></td></tr>
<tr> | <td> | <b> | PM sensor 1.0 | </b> | </td> |  | <tr><td><b>PM sensor 1.0</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | HYGROSCOPIC | </b> | </td> |  | <tr><td><b>HYGROSCOPIC</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Humidity sensor | </b> | </td> |  | <tr><td><b>Humidity sensor</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Power Heating | </b> | </td> |  | <tr><td><b>Power Heating</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Active energy control | </b> | </td> |  | <tr><td><b>Active energy control</b></td>
| <td> | <center> | Have | </center> | </td> | </tr> | <td><center>Have</center></td></tr>
<tr> | <td> | <b> | Dry contact | </b> | </td> |  | <tr><td><b>Dry contact</b></td>
| <td> | <center> | Have | </center> | </td> | </tr> | <td><center>Have</center></td></tr>
<tr> | <td> | <b> | Energy display | </b> | </td> |  | <tr><td><b>Energy display</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Energy efficiency | </b> | </td> |  | <tr><td><b>Energy efficiency</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Active energy control | </b> | </td> |  | <tr><td><b>Active energy control</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Energy Saving (Refrigeration) | </b> | </td> |  | <tr><td><b>Energy Saving (Refrigeration)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | ICA (Amperage Control) | </b> | </td> |  | <tr><td><b>ICA (Amperage Control)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Auto Restart | </b> | </td> |  | <tr><td><b>Auto Restart</b></td>
| <td> | <center> | 3 minutes | </center> | </td> | </tr> | <td><center>3 minutes</center></td></tr>
<tr> | <td> | <b> | Fan mode | </b> | </td> |  | <tr><td><b>Fan mode</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Filter warning | </b> | </td> |  | <tr><td><b>Filter warning</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Forced operation switch | </b> | </td> |  | <tr><td><b>Forced operation switch</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Detect user | </b> | </td> |  | <tr><td><b>Detect user</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Low noise | </b> | </td> |  | <tr><td><b>Low noise</b></td>
| <td> | <center> | 27 | </center> | </td> | </tr> | <td><center>27</center></td></tr>
<tr> | <td> | <b> | Timer (24 hours) | </b> | </td> |  | <tr><td><b>Timer (24 hours)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Remote control | </b> | </td> |  | <tr><td><b>Remote control</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Timer | </b> | </td> |  | <tr><td><b>Timer</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Smart diagnosis | </b> | </td> |  | <tr><td><b>Smart diagnosis</b></td>
| <td> | <center> | Have | </center> | </td> | </tr> | <td><center>Have</center></td></tr>
<tr> | <td> | <b> | Smart guide | </b> | </td> |  | <tr><td><b>Smart guide</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Free operation of the stabilizer | </b> | </td> |  | <tr><td><b>Free operation of the stabilizer</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | ThinQ(Wi-Fi) | </b> | </td> |  | <tr><td><b>ThinQ(Wi-Fi)</b></td>
| <td> | <center> | Have | </center> | </td> | </tr> | <td><center>Have</center></td></tr>
<tr> | <td> | <b> | Nice sleep | </b> | </td> |  | <tr><td><b>Nice sleep</b></td>
| <td> | <center> | Have | </center> | </td> | </tr> | <td><center>Have</center></td></tr>
<tr> | <td> | <b> | Voice Control (Third Party Device) | </b> | </td> |  | <tr><td><b>Voice Control (Third Party Device)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Allergy filter | </b> | </td> |  | <tr><td><b>Allergy filter</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Anti-bacterial microfiltration membrane | </b> | </td> |  | <tr><td><b>Anti-bacterial microfiltration membrane</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Dust filter | </b> | </td> |  | <tr><td><b>Dust filter</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Fine dust filter | </b> | </td> |  | <tr><td><b>Fine dust filter</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Microfiltration membrane | </b> | </td> |  | <tr><td><b>Microfiltration membrane</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Primary filter | </b> | </td> |  | <tr><td><b>Primary filter</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Color (Body) | </b> | </td> |  | <tr><td><b>Color (Body)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Color (Exhaust Pipe) | </b> | </td> |  | <tr><td><b>Color (Exhaust Pipe)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Display screen | </b> | </td> |  | <tr><td><b>Display screen</b></td>
| <td> | <center> | Have | </center> | </td> | </tr> | <td><center>Have</center></td></tr>
<tr> | <td> | <b> | Installation kit model name | </b> | </td> |  | <tr><td><b>Installation kit model name</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Release Month (Year-Month) | </b> | </td> |  | <tr><td><b>Release Month (Year-Month)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Manufacturer (Importer) | </b> | </td> |  | <tr><td><b>Manufacturer (Importer)</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Product samples | </b> | </td> |  | <tr><td><b>Product samples</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Catalog and product code | </b> | </td> |  | <tr><td><b>Catalog and product code</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Automatic cleaning | </b> | </td> |  | <tr><td><b>Automatic cleaning</b></td>
| <td> | <center> | Have | </center> | </td> | </tr> | <td><center>Have</center></td></tr>
<tr> | <td> | <b> | UV Nano | </b> | </td> |  | <tr><td><b>UV Nano</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | Model code of outdoor unit | </b> | </td> |  | <tr><td><b>Model code of outdoor unit</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>
<tr> | <td> | <b> | EAN CODE | </b> | </td> |  | <tr><td><b>EAN CODE</b></td>
| <td> | <center> | - | </center> | </td> | </tr> | <td><center>-</center></td></tr>